Materiały do pakietów farmaceutycznych

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Name** | **Primary packaging/** **material of the product** | **Producer** | **Catalog number -example** | **Storage condition** |
| BD 1 mL Syringe Luer-Lock Tip sterile | Polypropylene (cylinder and piston) + seal made of synthetic, latex-free rubber | Becton Dickinson | 309628 | 20°± 5°C (RT) |
| BD 5 mL: Syringe Luer-Lock Tip sterile | Polypropylene (cylinder and piston) + seal made of synthetic, latex-free rubber | Becton Dickinson | 309649 | 20°± 5°C (RT) |
| BD 10 mL Luer-Lock Syringe sterile | Polypropylene (cylinder and piston) + seal made of synthetic, latex-free rubber | Becton Dickinson | 305959 | 20°± 5°C (RT) |
| BD 20 mL Luer-Lock Syringe sterile | Polypropylene (cylinder and piston) + seal made of synthetic, latex-free rubber | Becton Dickinson | 300629 | 20°± 5°C (RT) |
| BD Amber Plastipak Luer Lock Syringe 50 mL sterile | Polypropylene (cylinder and piston) + seal made of synthetic, latex-free rubber | Becton Dickinson | 300869 | 20°± 5°C (RT) |
| Sterifix filter 0.2 mm luer lock, low protein binding | Polyethersulfone | B. Braun | 4099303 | 20°± 5°C (RT) |
| 3 Way Stopcock KD-FLEX sterile | Polycarbonate | KD Medical | 773505M | 20°± 5°C (RT) |
| Pro-Omnia Lock sterile | N/A | CliniPharma s.r.o. | M1603 | 20°± 5°C (RT) |
| Combifix Adapter sterile | N/A | B. Braun | 5206634 | 20°± 5°C (RT) |
| UV protected extension tubing for infusion pump 150 cm sterile | polyvinyl chloride | Margomed | 004232 | 20°± 5°C (RT) |
| Safety IV Catheter with Injection port sterile | Polyurethane | B. Braun | 4269110S-01 | 20°± 5°C (RT) |